{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":4,"rows_kept":7,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["毕节工业职业技术学院继续教育部培训中心升级改造项目基本要求"]
["序号","名称","要求","备注"]
[1,"一楼报道大厅装修部分","玄关隔墙，原有墙面瓷粉乳胶漆铲除，原有地面拆除，形象展示墙，墙面护墙板造型装饰，设计LED显示大屏，顶面艺术造型吊顶，报道前台，艺术门头外拓及门头立面艺术造型，全室灯具强弱电改造"]
[2,"二楼多功能培训厅1装修部分（预计座80位）","候会室及音控室隔墙，新砌讲台，原有地面自流平找平，地胶铺贴，墙面吸音板造型，墙面护墙板造型装饰，LED显示大屏，顶面艺术造型吊顶，培训座椅，全室灯具，开关插座，音控设备，风管机空调配置，强弱电改造"]
[3,"二楼多功能培训厅2装修部分（预计座110位）","音控室隔墙，新砌讲台，原有地面自流平找平，地胶铺贴，墙面吸音板造型，墙面护墙板造型装饰，LED显示大屏，顶面艺术造型吊顶，前后隔音消防对开门，踢脚线及安装，培训座椅，全室灯具，开关插座，音控设备，风管机空调配置，强弱电改造"]
[4,"1-4楼过道及主楼梯间装修部分","原有墙面瓷粉乳胶漆铲除，墙面护墙板墙裙装饰，顶面艺术造型吊顶，强弱电改造"]
[5,"文化广场装修部分","原有地面铺贴拆除，广场主路户外砖铺贴，喷泉水池修建，现代艺术长廊，绿化，户外灯光"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}